## Quote
Data Center Solution Configurator Quote
| Prepared for: | Prepared by: |  |  |  | Quote #:
|  | Price Date: | 22-Jun-23 |  |  | Config ID:
| Your final configuration may contain hardware, software, and services; therefore, accounting implications need to be taken into consideration. A bottom line price for the package/bundle should only be presented with accounting approval. | Quote date: |  | Quote Expiration Date: |  | Solution ID:
Part number | Product Description |  | Qty | Price | Total Part Price
|  |  |  | (per unit) US Dollar | (quantity x unit price) US Dollar
6741A1F | Tape : IBM TS4300 3U Tape Library-Base Unit |  | 1
You will have to manually add:
01KP952 | LTO 8 HH Fibre Channel Drive |  | 3
01KP929 | 10Meter LC/LC Fibre Cable |  | 6
01KP932 | Left Side Magazine |  | 2
01KP931 | Right Side Magazine |  | 2
01KP955 | Ultrium 8 Data Cartridges 5-Pack |  | 10
00NA017 | Ultrium Cleaning Cartridge L1UCC |  | 3
01KP930 | Rack Mount Kit |  | 1
01KP927 | Additional Power supply |  | 1
00NA063 | 4.3m, 10A/100-250V, C13 to IEC 320-C14 Rack Power Cable |  | 2
01KP984 | 6741 Path Failover |  | 1
Unconfigured Part
01KP952 | LTO 8 HH Fibre Channel Drive |  | 1
01KP955 | Ultrium 8 Data Cartridges 5-Pack |  | 22
6741A3F | Tape Library-Expansion Unit(Standard) : IBM TS4300 3U Tape Library-Expansion Unit |  | 1
You will have to manually add:
01KP952 | LTO 8 HH Fibre Channel Drive |  | 3
01KP929 | 10Meter LC/LC Fibre Cable |  | 6
01KP930 | Rack Mount Kit |  | 1
01KP928 | First Power Supply |  | 1
01KP927 | Additional Power supply |  | 1
00NA063 | 4.3m, 10A/100-250V, C13 to IEC 320-C14 Rack Power Cable |  | 2
Total
TERMS AND CONDITIONS:
Lenovo Agreement for Machines
Unless there is an agreement in place between Lenovo and Customer, these terms and conditions, including associated warranty statements, license agreements, and any applicable attachments, are the sole and complete agreement between Customer and Lenovo regarding the Products or Services purchased here under. Any additional or different terms in any order or communication from Customer shall not be binding on Lenovo unless signed by an authorized representative of Lenovo.
1. Definitions
1.1 Machine means a server or storage hardware Product identified by a Machine Type as well as its features, conversions or upgrades. The term "Machine" does not include any Programs, whether pre-loaded with the Machine, installed subsequently, or otherwise.
1.2 Machine Code means all code provided for a Machine (including, without limitation, a Machine's firmware and microcode), excluding code that is licensed under a license agreement other than the license agreement governing use of Machine Code. The term Machine Code specifically includes any whole or partial copy of Machine Code, and any fix, patch, or replacement provided for Machine Code.
1.3 Product means any Lenovo branded or third party hardware or software that Lenovo makes available for purchase by Customer under this Agreement. Hardware products include personal computers, servers, storage devices and accessories. Software products include computer software Programs (whether preloaded or provided separately) and related licensed materials such as documentation.
1.4 Program means a software or Product licensed under a separate license agreement..
1.5 Service is the performance of a task; provision of advice or assistance; or access to a resource such as access to an information data base which in some cases is available to Customer under a separate agreement.
2. Prices and Payment
2.1 Except for credit or debit card transactions, or if not paid in advance of shipment, payment is due upon receipt of invoice. Any amounts not received by Lenovo within thirty (30) days of receipt of invoice shall be overdue. Customer shall pay a late payment fee of the lesser of one and one half (1.5%) percent per month or the maximum rate permitted by law on the undisputed overdue balance of the invoice amount. Customer shall pay any applicable sales, use or similar taxes, fees or duties unless Customer provides exemption documentation to Lenovo. Customer is responsible for taxes, if any, on Products from the date Lenovo ships them to Customer or on Services, on the date the Services are provided by Lenovo. No other discounts, quantity entitlements, or promotions apply unless agreed in writing by Lenovo. Delivery charges, if applicable, will be as specified in an invoice.
2.2 If Lenovo makes an error in pricing information, Lenovo may nevertheless refuse or cancel an order placed for a Product or Service quoted at such price, even if Lenovo has confirmed the receipt of Customer's order or charged Customer's credit or debit card. If Lenovo has charged Customer's credit or debit card, Lenovo will promptly issue a credit to Customer's credit or debit card account in the amount of the charge.
4. Returns
Customer may return a new, standard Product that is still in its sealed, unopened package, to Lenovo for any reason within twenty-one (21) days of the date of invoice for a refund or credit. Customers may only return the entire Product or all such Products for a refund or credit. Partial refunds or credits for Products that are not standard; or Products configured to Customer's requirements, including installation of software Product options; or quantities of Products that are not separately priced, are not available to Customers.
In order to receive a credit or refund, Customer must contact its Lenovo Inside Sales Representative to obtain a return-authorization form. Customer must return the new Product, including all documentation and accessories, intact and in its unopened original packaging to the location and by the date specified by Lenovo. A copy of the invoice, the return-authorization form, and the shipping label must accompany the returned Product. Return may be subject to a restocking fee in the amount of fifteen percent (15%) of the price paid. Shipping and handling charges will not be refunded or credited to Customer. Products returned without a Lenovo return authorization form, or returned after the date specified by Lenovo, will be subject to a restocking fee in the amount of fifteen percent (15%) of the price paid. Customer agrees to pay the restocking fee if charged by Lenovo.
A refund or credit is not available for the return of Products which are not generally available to customers and for which Lenovo created a unique machine type model (MTM) or a part number or configuration.
Returns of Products shipped as a result of a Lenovo error will be accepted by Lenovo. Lenovo will initiate a return of such Products with appropriate documentation at no charge to Customer if Lenovo is notified of the error within twenty-one (21) days of the date of the invoice. If Customer acquired a software Product separate from a hardware Product, and paid a software license fee, but does not agree to the terms of the license, Customer may return the software Product within twenty-one (21) days of the date of invoice and receive a refund or credit in the amount of the fee.
5. Warranties
5.1 Lenovo personal computer hardware Products are warranted in accordance with the Lenovo Limited Warranty accompanying each Lenovo personal computer hardware Product or as found at http://www.lenovo.com/services_warranty/US/en/index.html &char(10) Lenovo Machines are warranted in accordance with the Lenovo Statement of Limited Warranty accompanying each Lenovo Machine or as found at http://www.lenovo.com/services_warranty/US/en/index.html
5.2 Programs are licensed under the terms of the license agreement accompanying the Program. The warranty, if any, on a Program is as specified in the license agreement.
5.3 LENOVO MAKES NO WARRANTIES FOR SOFTWARE, SERVICE, SUPPORT OR THIRD PARTY PRODUCTS. SUCH SOFTWARE, SERVICE, SUPPORT AND PRODUCTS ARE PROVIDED "AS IS", WITHOUT WARRANTIES OR CONDITIONS OF ANY KIND. SOME STATES DO NOT ALLOW LIMITATIONS OF WARRANTIES, SO THESE LIMITATIONS MAY NOT APPLY TO CUSTOMER. THIRD PARTY PROVIDERS OF SOFTWARE, SERVICES, PRODUCTS AND SUPPORT MAY PROVIDE WARRANTIES TO CUSTOMER.
6. Title and Risk of Loss
6.1 Title to hardware Products shall pass to Customer upon shipment by Lenovo. Lenovo may reserve a purchase money security interest in a hardware Product until Lenovo receives payment of all the amounts due. Lenovo does not transfer title to Programs.
6.2 Lenovo bears the risk of loss for hardware Products until they are delivered to the location specified in Customer's order. Customer assumes risk of loss after delivery to the specified location.
7. General
7.1 Customer Information. Lenovo and its affiliates may store, use and process contact information and other information about Customer, including name, phone numbers, addresses, and e-mail addresses, necessary to perform under this Agreement, including but not limited to warranty service. Such information will be processed and used in connection with this Agreement and the Products or Services. It may be transferred by Lenovo to any country where Lenovo does business; and may be provided to entities acting on Lenovo's behalf in relation to this Agreement and the Products or Services. Lenovo may also disclose such information where required by law.
7.2 LIMITATION OF LIABILITY. IN ANY ACTION UNDER OR RELATED TO THIS AGREEMENT, LENOVO SHALL NOT BE LIABLE TO CUSTOMER FOR ANY OF THE FOLLOWING EVEN IF INFORMED OF THEIR POSSIBILITY OR NOT AND WHETHER ARISING IN CONTRACT, TORT (INCLUDING NEGLIGENCE) OR OTHERWISE: 1) THIRD-PARTY CLAIMS FOR DAMAGES; 2) LOSS OF, OR DAMAGE TO, DATA; 3) SPECIAL, INCIDENTIAL, INDIRECT, PUNITIVE OR CONSEQUENTIAL DAMAGES; OR 4) LOSS OF PROFITS, BUSINESS, REVENUE, GOODWILL OR ANTICIPATED SAVINGS. AS SOME STATES OR JURISDICTIONS DO NOT ALLOW THE EXCLUSION OR LIMITATION OF SOME DAMAGES, THE ABOVE EXCLUSION OR LIMITATION MAY NOT APPLY TO THIS AGREEMENT. EXCEPT FOR BODILY INJURY (INCLUDING DEATH) AND DAMAGE TO REAL PROPERTY OR TANGIBLE PERSONAL PROPERTY, LENOVO SHALL NOT BE LIABLE FOR MORE THAN THE AMOUNT OF ACTUAL DIRECT DAMAGES SUFFERED BY CUSTOMER, UP TO THE AMOUNT CUSTOMER PAID FOR THE PRODUCT OR SERVICE.
7.3 Force Majeure. Lenovo shall not be liable to Customer for any failure or delay in the performance of its obligations hereunder, to the extent such failure or delay is caused by fire, flood, earthquakes, other elements of nature; acts of war; terrorism, riots, civil disorders, rebellions or revolutions; epidemics, communication line or power failures; governmental laws, court orders or regulations; or any other cause beyond the reasonable control of Lenovo.
7.4 Product Changes. Lenovo may change or discontinue Products at any time. In such event, Lenovo may fulfill Customer's order with a Product that has the functionality and performance as the Product ordered by Customer.
7.5 Export. All Products purchased under this Agreement are only for use in the United States and are subject to the export regulations of the United States. Customer shall comply with United States export regulations.
7.6 Governing Law. This Agreement and all orders issued hereunder shall be governed by the laws of the State of New York, without regard to its conflict of law principles. Neither party may bring an action arising out of or related to this Sales Agreement more than two years after the cause of action arose.
Any additional or different terms in any order or communication from Customer shall not be binding on Lenovo unless signed by an authorized representative of Lenovo. Confirmation of receipt of Customer's order shall not mean Lenovo has accepted Customer's order.

## Power Report
Data Center Solution Configurator Power
| Prepared for: | Prepared by: |  |  |  | Quote #:
|  | Price Date: | 22-Jun-23 |  |  | Config ID:
| Your final configuration may contain hardware, software, and services; therefore, accounting implications need to be taken into consideration. A bottom line price for the package/bundle should only be presented with accounting approval. | Quote date: |  | Quote Expiration Date: |  | Solution ID:
Machine Name | Tape : IBM TS4300 3U Tape Library-Base Unit |  | Model | 6741A1F | Quantity | 1
Power Summary |  |  |  | Idle | Load Factor | Nominal Max | Worst Case Max
Operating Voltage | 220V |  | Input Power (W) | 350.0 | 350.0 | 350.0 | 350.0
Load Factor (%) | 70.0 |  | Input Current (A) | 1.6 | 1.6 | 1.6 | 1.6
System S5 (W) | 0.0 |  | Apparent Power (VA) | 350.0 | 350.0 | 350.0 | 350.0
Power Policy | N/A |  | Heat Generation (BTU/Hr) | 1,194.2 | 1,194.2 | 1,194.2 | 1,194.2
|  |  | Power(DC W) | 0.0 | 0.0 | 0.0 | 0.0
Machine Name | Tape Library-Expansion Unit(Standard) : IBM TS4300 3U Tape Library-Expansion Unit |  | Model | 6741A3F | Quantity | 1
Power Summary |  |  |  | Idle | Load Factor | Nominal Max | Worst Case Max
Operating Voltage | 220V |  | Input Power (W) | 350.0 | 350.0 | 350.0 | 350.0
Load Factor (%) | 70.0 |  | Input Current (A) | 1.6 | 1.6 | 1.6 | 1.6
System S5 (W) | 0.0 |  | Apparent Power (VA) | 350.0 | 350.0 | 350.0 | 350.0
Power Policy | N/A |  | Heat Generation (BTU/Hr) | 1,194.2 | 1,194.2 | 1,194.2 | 1,194.2
|  |  | Power(DC W) | 0.0 | 0.0 | 0.0 | 0.0
Note on E7: All power management features are enabled in UEFI and the operating system. Server is booted to operating system and sitting idle for several minutes.
Note on F7: Typical long term power consumption under nominal conditions with no faults and user selected load factor.
Note on G7: Typical long term power consumption under nominal conditions with no faults and 100% load.
Note on H7: Maximum power consumption used for power supply sizing. Typically encountered under fault and/or high temperature conditions.
Note on E15: All power management features are enabled in UEFI and the operating system. Server is booted to operating system and sitting idle for several minutes.
Note on F15: Typical long term power consumption under nominal conditions with no faults and user selected load factor.
Note on G15: Typical long term power consumption under nominal conditions with no faults and 100% load.
Note on H15: Maximum power consumption used for power supply sizing. Typically encountered under fault and/or high temperature conditions.

## ConfigGroupView
Data Center Solution Configurator Group
|  | Prepared for: | Prepared by: |  |  |  | Quote #:
|  |  | Price Date: | 22-Jun-23 |  |  | Config ID:
|  | Your final configuration may contain hardware, software, and services; therefore, accounting implications need to be taken into consideration. A bottom line price for the package/bundle should only be presented with accounting approval. | Quote date: |  | Quote Expiration Date: |  | Solution ID:
Level 1 Group | Part number | Product Description |  | Qty | Price | Total Part Price
[5 empty] | (per unit) US Dollar | (quantity x unit price) US Dollar
Config 1
| 6741A1F | Tape: IBM TS4300 3U Tape Library-Base Unit |  | 1
You will have to manually add:
| 01KP952 | LTO 8 HH Fibre Channel Drive |  | 3
| 01KP929 | 10Meter LC/LC Fibre Cable |  | 6
| 01KP932 | Left Side Magazine |  | 2
| 01KP931 | Right Side Magazine |  | 2
| 01KP955 | Ultrium 8 Data Cartridges 5-Pack |  | 10
| 00NA017 | Ultrium Cleaning Cartridge L1UCC |  | 3
| 01KP930 | Rack Mount Kit |  | 1
| 01KP927 | Additional Power supply |  | 1
| 00NA063 | 4.3m, 10A/100-250V, C13 to IEC 320-C14 Rack Power Cable |  | 2
| 01KP984 | 6741 Path Failover |  | 1
Unconfigured Part
| 01KP952 | LTO 8 HH Fibre Channel Drive |  | 1
| 01KP955 | Ultrium 8 Data Cartridges 5-Pack |  | 22
| 6741A3F | Tape Library-Expansion Unit(Standard): IBM TS4300 3U Tape Library-Expansion Unit |  | 1
You will have to manually add:
| 01KP952 | LTO 8 HH Fibre Channel Drive |  | 3
| 01KP929 | 10Meter LC/LC Fibre Cable |  | 6
| 01KP930 | Rack Mount Kit |  | 1
| 01KP928 | First Power Supply |  | 1
| 01KP927 | Additional Power supply |  | 1
| 00NA063 | 4.3m, 10A/100-250V, C13 to IEC 320-C14 Rack Power Cable |  | 2
Total
TERMS AND CONDITIONS:
Lenovo Agreement for Machines
Unless there is an agreement in place between Lenovo and Customer, these terms and conditions, including associated warranty statements, license agreements, and any applicable attachments, are the sole and complete agreement between Customer and Lenovo regarding the Products or Services purchased here under. Any additional or different terms in any order or communication from Customer shall not be binding on Lenovo unless signed by an authorized representative of Lenovo.
1. Definitions
1.1 Machine means a server or storage hardware Product identified by a Machine Type as well as its features, conversions or upgrades. The term "Machine" does not include any Programs, whether pre-loaded with the Machine, installed subsequently, or otherwise.
1.2 Machine Code means all code provided for a Machine (including, without limitation, a Machine's firmware and microcode), excluding code that is licensed under a license agreement other than the license agreement governing use of Machine Code. The term Machine Code specifically includes any whole or partial copy of Machine Code, and any fix, patch, or replacement provided for Machine Code.
1.3 Product means any Lenovo branded or third party hardware or software that Lenovo makes available for purchase by Customer under this Agreement. Hardware products include personal computers, servers, storage devices and accessories. Software products include computer software Programs (whether preloaded or provided separately) and related licensed materials such as documentation.
1.4 Program means a software or Product licensed under a separate license agreement..
1.5 Service is the performance of a task; provision of advice or assistance; or access to a resource such as access to an information data base which in some cases is available to Customer under a separate agreement.
2. Prices and Payment
2.1 Except for credit or debit card transactions, or if not paid in advance of shipment, payment is due upon receipt of invoice. Any amounts not received by Lenovo within thirty (30) days of receipt of invoice shall be overdue. Customer shall pay a late payment fee of the lesser of one and one half (1.5%) percent per month or the maximum rate permitted by law on the undisputed overdue balance of the invoice amount. Customer shall pay any applicable sales, use or similar taxes, fees or duties unless Customer provides exemption documentation to Lenovo. Customer is responsible for taxes, if any, on Products from the date Lenovo ships them to Customer or on Services, on the date the Services are provided by Lenovo. No other discounts, quantity entitlements, or promotions apply unless agreed in writing by Lenovo. Delivery charges, if applicable, will be as specified in an invoice.
2.2 If Lenovo makes an error in pricing information, Lenovo may nevertheless refuse or cancel an order placed for a Product or Service quoted at such price, even if Lenovo has confirmed the receipt of Customer's order or charged Customer's credit or debit card. If Lenovo has charged Customer's credit or debit card, Lenovo will promptly issue a credit to Customer's credit or debit card account in the amount of the charge.
4. Returns
Customer may return a new, standard Product that is still in its sealed, unopened package, to Lenovo for any reason within twenty-one (21) days of the date of invoice for a refund or credit. Customers may only return the entire Product or all such Products for a refund or credit. Partial refunds or credits for Products that are not standard; or Products configured to Customer's requirements, including installation of software Product options; or quantities of Products that are not separately priced, are not available to Customers.
In order to receive a credit or refund, Customer must contact its Lenovo Inside Sales Representative to obtain a return-authorization form. Customer must return the new Product, including all documentation and accessories, intact and in its unopened original packaging to the location and by the date specified by Lenovo. A copy of the invoice, the return-authorization form, and the shipping label must accompany the returned Product. Return may be subject to a restocking fee in the amount of fifteen percent (15%) of the price paid. Shipping and handling charges will not be refunded or credited to Customer. Products returned without a Lenovo return authorization form, or returned after the date specified by Lenovo, will be subject to a restocking fee in the amount of fifteen percent (15%) of the price paid. Customer agrees to pay the restocking fee if charged by Lenovo.
A refund or credit is not available for the return of Products which are not generally available to customers and for which Lenovo created a unique machine type model (MTM) or a part number or configuration.
Returns of Products shipped as a result of a Lenovo error will be accepted by Lenovo. Lenovo will initiate a return of such Products with appropriate documentation at no charge to Customer if Lenovo is notified of the error within twenty-one (21) days of the date of the invoice. If Customer acquired a software Product separate from a hardware Product, and paid a software license fee, but does not agree to the terms of the license, Customer may return the software Product within twenty-one (21) days of the date of invoice and receive a refund or credit in the amount of the fee.
5. Warranties
5.1 Lenovo personal computer hardware Products are warranted in accordance with the Lenovo Limited Warranty accompanying each Lenovo personal computer hardware Product or as found at http://www.lenovo.com/services_warranty/US/en/index.html &char(10) Lenovo Machines are warranted in accordance with the Lenovo Statement of Limited Warranty accompanying each Lenovo Machine or as found at http://www.lenovo.com/services_warranty/US/en/index.html
5.2 Programs are licensed under the terms of the license agreement accompanying the Program. The warranty, if any, on a Program is as specified in the license agreement.
5.3 LENOVO MAKES NO WARRANTIES FOR SOFTWARE, SERVICE, SUPPORT OR THIRD PARTY PRODUCTS. SUCH SOFTWARE, SERVICE, SUPPORT AND PRODUCTS ARE PROVIDED "AS IS", WITHOUT WARRANTIES OR CONDITIONS OF ANY KIND. SOME STATES DO NOT ALLOW LIMITATIONS OF WARRANTIES, SO THESE LIMITATIONS MAY NOT APPLY TO CUSTOMER. THIRD PARTY PROVIDERS OF SOFTWARE, SERVICES, PRODUCTS AND SUPPORT MAY PROVIDE WARRANTIES TO CUSTOMER.
6. Title and Risk of Loss
6.1 Title to hardware Products shall pass to Customer upon shipment by Lenovo. Lenovo may reserve a purchase money security interest in a hardware Product until Lenovo receives payment of all the amounts due. Lenovo does not transfer title to Programs.
6.2 Lenovo bears the risk of loss for hardware Products until they are delivered to the location specified in Customer's order. Customer assumes risk of loss after delivery to the specified location.
7. General
7.1 Customer Information. Lenovo and its affiliates may store, use and process contact information and other information about Customer, including name, phone numbers, addresses, and e-mail addresses, necessary to perform under this Agreement, including but not limited to warranty service. Such information will be processed and used in connection with this Agreement and the Products or Services. It may be transferred by Lenovo to any country where Lenovo does business; and may be provided to entities acting on Lenovo's behalf in relation to this Agreement and the Products or Services. Lenovo may also disclose such information where required by law.
7.2 LIMITATION OF LIABILITY. IN ANY ACTION UNDER OR RELATED TO THIS AGREEMENT, LENOVO SHALL NOT BE LIABLE TO CUSTOMER FOR ANY OF THE FOLLOWING EVEN IF INFORMED OF THEIR POSSIBILITY OR NOT AND WHETHER ARISING IN CONTRACT, TORT (INCLUDING NEGLIGENCE) OR OTHERWISE: 1) THIRD-PARTY CLAIMS FOR DAMAGES; 2) LOSS OF, OR DAMAGE TO, DATA; 3) SPECIAL, INCIDENTIAL, INDIRECT, PUNITIVE OR CONSEQUENTIAL DAMAGES; OR 4) LOSS OF PROFITS, BUSINESS, REVENUE, GOODWILL OR ANTICIPATED SAVINGS. AS SOME STATES OR JURISDICTIONS DO NOT ALLOW THE EXCLUSION OR LIMITATION OF SOME DAMAGES, THE ABOVE EXCLUSION OR LIMITATION MAY NOT APPLY TO THIS AGREEMENT. EXCEPT FOR BODILY INJURY (INCLUDING DEATH) AND DAMAGE TO REAL PROPERTY OR TANGIBLE PERSONAL PROPERTY, LENOVO SHALL NOT BE LIABLE FOR MORE THAN THE AMOUNT OF ACTUAL DIRECT DAMAGES SUFFERED BY CUSTOMER, UP TO THE AMOUNT CUSTOMER PAID FOR THE PRODUCT OR SERVICE.
7.3 Force Majeure. Lenovo shall not be liable to Customer for any failure or delay in the performance of its obligations hereunder, to the extent such failure or delay is caused by fire, flood, earthquakes, other elements of nature; acts of war; terrorism, riots, civil disorders, rebellions or revolutions; epidemics, communication line or power failures; governmental laws, court orders or regulations; or any other cause beyond the reasonable control of Lenovo.
7.4 Product Changes. Lenovo may change or discontinue Products at any time. In such event, Lenovo may fulfill Customer's order with a Product that has the functionality and performance as the Product ordered by Customer.
7.5 Export. All Products purchased under this Agreement are only for use in the United States and are subject to the export regulations of the United States. Customer shall comply with United States export regulations.
7.6 Governing Law. This Agreement and all orders issued hereunder shall be governed by the laws of the State of New York, without regard to its conflict of law principles. Neither party may bring an action arising out of or related to this Sales Agreement more than two years after the cause of action arose.
Any additional or different terms in any order or communication from Customer shall not be binding on Lenovo unless signed by an authorized representative of Lenovo. Confirmation of receipt of Customer's order shall not mean Lenovo has accepted Customer's order.

## Summary
Data Center Solution Configurator Summary
| Prepared for: | Prepared by: |  |  |  | Quote #:
|  | Price Date: | 22-Jun-23 |  |  | Config ID:
| Your final configuration may contain hardware, software, and services; therefore, accounting implications need to be taken into consideration. A bottom line price for the package/bundle should only be presented with accounting approval. | Quote date: |  | Quote Expiration Date: |  | Solution ID:
Part number | Product Description |  | Qty | Price | Total Part Price
|  |  |  | (per unit) US Dollar | (quantity x unit price) US Dollar
6741A1F | Tape : IBM TS4300 3U Tape Library-Base Unit |  | 1
You will have to manually add:
01KP952 | LTO 8 HH Fibre Channel Drive |  | 3
01KP929 | 10Meter LC/LC Fibre Cable |  | 6
01KP932 | Left Side Magazine |  | 2
01KP931 | Right Side Magazine |  | 2
01KP955 | Ultrium 8 Data Cartridges 5-Pack |  | 10
00NA017 | Ultrium Cleaning Cartridge L1UCC |  | 3
01KP930 | Rack Mount Kit |  | 1
01KP927 | Additional Power supply |  | 1
00NA063 | 4.3m, 10A/100-250V, C13 to IEC 320-C14 Rack Power Cable |  | 2
01KP984 | 6741 Path Failover |  | 1
Unconfigured Part
01KP952 | LTO 8 HH Fibre Channel Drive |  | 1
01KP955 | Ultrium 8 Data Cartridges 5-Pack |  | 22
6741A3F | Tape Library-Expansion Unit(Standard) : IBM TS4300 3U Tape Library-Expansion Unit |  | 1
You will have to manually add:
01KP952 | LTO 8 HH Fibre Channel Drive |  | 3
01KP929 | 10Meter LC/LC Fibre Cable |  | 6
01KP930 | Rack Mount Kit |  | 1
01KP928 | First Power Supply |  | 1
01KP927 | Additional Power supply |  | 1
00NA063 | 4.3m, 10A/100-250V, C13 to IEC 320-C14 Rack Power Cable |  | 2
Total
TERMS AND CONDITIONS:
Lenovo Agreement for Machines
Unless there is an agreement in place between Lenovo and Customer, these terms and conditions, including associated warranty statements, license agreements, and any applicable attachments, are the sole and complete agreement between Customer and Lenovo regarding the Products or Services purchased here under. Any additional or different terms in any order or communication from Customer shall not be binding on Lenovo unless signed by an authorized representative of Lenovo.
1. Definitions
1.1 Machine means a server or storage hardware Product identified by a Machine Type as well as its features, conversions or upgrades. The term "Machine" does not include any Programs, whether pre-loaded with the Machine, installed subsequently, or otherwise.
1.2 Machine Code means all code provided for a Machine (including, without limitation, a Machine's firmware and microcode), excluding code that is licensed under a license agreement other than the license agreement governing use of Machine Code. The term Machine Code specifically includes any whole or partial copy of Machine Code, and any fix, patch, or replacement provided for Machine Code.
1.3 Product means any Lenovo branded or third party hardware or software that Lenovo makes available for purchase by Customer under this Agreement. Hardware products include personal computers, servers, storage devices and accessories. Software products include computer software Programs (whether preloaded or provided separately) and related licensed materials such as documentation.
1.4 Program means a software or Product licensed under a separate license agreement..
1.5 Service is the performance of a task; provision of advice or assistance; or access to a resource such as access to an information data base which in some cases is available to Customer under a separate agreement.
2. Prices and Payment
2.1 Except for credit or debit card transactions, or if not paid in advance of shipment, payment is due upon receipt of invoice. Any amounts not received by Lenovo within thirty (30) days of receipt of invoice shall be overdue. Customer shall pay a late payment fee of the lesser of one and one half (1.5%) percent per month or the maximum rate permitted by law on the undisputed overdue balance of the invoice amount. Customer shall pay any applicable sales, use or similar taxes, fees or duties unless Customer provides exemption documentation to Lenovo. Customer is responsible for taxes, if any, on Products from the date Lenovo ships them to Customer or on Services, on the date the Services are provided by Lenovo. No other discounts, quantity entitlements, or promotions apply unless agreed in writing by Lenovo. Delivery charges, if applicable, will be as specified in an invoice.
2.2 If Lenovo makes an error in pricing information, Lenovo may nevertheless refuse or cancel an order placed for a Product or Service quoted at such price, even if Lenovo has confirmed the receipt of Customer's order or charged Customer's credit or debit card. If Lenovo has charged Customer's credit or debit card, Lenovo will promptly issue a credit to Customer's credit or debit card account in the amount of the charge.
4. Returns
Customer may return a new, standard Product that is still in its sealed, unopened package, to Lenovo for any reason within twenty-one (21) days of the date of invoice for a refund or credit. Customers may only return the entire Product or all such Products for a refund or credit. Partial refunds or credits for Products that are not standard; or Products configured to Customer's requirements, including installation of software Product options; or quantities of Products that are not separately priced, are not available to Customers.
In order to receive a credit or refund, Customer must contact its Lenovo Inside Sales Representative to obtain a return-authorization form. Customer must return the new Product, including all documentation and accessories, intact and in its unopened original packaging to the location and by the date specified by Lenovo. A copy of the invoice, the return-authorization form, and the shipping label must accompany the returned Product. Return may be subject to a restocking fee in the amount of fifteen percent (15%) of the price paid. Shipping and handling charges will not be refunded or credited to Customer. Products returned without a Lenovo return authorization form, or returned after the date specified by Lenovo, will be subject to a restocking fee in the amount of fifteen percent (15%) of the price paid. Customer agrees to pay the restocking fee if charged by Lenovo.
A refund or credit is not available for the return of Products which are not generally available to customers and for which Lenovo created a unique machine type model (MTM) or a part number or configuration.
Returns of Products shipped as a result of a Lenovo error will be accepted by Lenovo. Lenovo will initiate a return of such Products with appropriate documentation at no charge to Customer if Lenovo is notified of the error within twenty-one (21) days of the date of the invoice. If Customer acquired a software Product separate from a hardware Product, and paid a software license fee, but does not agree to the terms of the license, Customer may return the software Product within twenty-one (21) days of the date of invoice and receive a refund or credit in the amount of the fee.
5. Warranties
5.1 Lenovo personal computer hardware Products are warranted in accordance with the Lenovo Limited Warranty accompanying each Lenovo personal computer hardware Product or as found at http://www.lenovo.com/services_warranty/US/en/index.html &char(10) Lenovo Machines are warranted in accordance with the Lenovo Statement of Limited Warranty accompanying each Lenovo Machine or as found at http://www.lenovo.com/services_warranty/US/en/index.html
5.2 Programs are licensed under the terms of the license agreement accompanying the Program. The warranty, if any, on a Program is as specified in the license agreement.
5.3 LENOVO MAKES NO WARRANTIES FOR SOFTWARE, SERVICE, SUPPORT OR THIRD PARTY PRODUCTS. SUCH SOFTWARE, SERVICE, SUPPORT AND PRODUCTS ARE PROVIDED "AS IS", WITHOUT WARRANTIES OR CONDITIONS OF ANY KIND. SOME STATES DO NOT ALLOW LIMITATIONS OF WARRANTIES, SO THESE LIMITATIONS MAY NOT APPLY TO CUSTOMER. THIRD PARTY PROVIDERS OF SOFTWARE, SERVICES, PRODUCTS AND SUPPORT MAY PROVIDE WARRANTIES TO CUSTOMER.
6. Title and Risk of Loss
6.1 Title to hardware Products shall pass to Customer upon shipment by Lenovo. Lenovo may reserve a purchase money security interest in a hardware Product until Lenovo receives payment of all the amounts due. Lenovo does not transfer title to Programs.
6.2 Lenovo bears the risk of loss for hardware Products until they are delivered to the location specified in Customer's order. Customer assumes risk of loss after delivery to the specified location.
7. General
7.1 Customer Information. Lenovo and its affiliates may store, use and process contact information and other information about Customer, including name, phone numbers, addresses, and e-mail addresses, necessary to perform under this Agreement, including but not limited to warranty service. Such information will be processed and used in connection with this Agreement and the Products or Services. It may be transferred by Lenovo to any country where Lenovo does business; and may be provided to entities acting on Lenovo's behalf in relation to this Agreement and the Products or Services. Lenovo may also disclose such information where required by law.
7.2 LIMITATION OF LIABILITY. IN ANY ACTION UNDER OR RELATED TO THIS AGREEMENT, LENOVO SHALL NOT BE LIABLE TO CUSTOMER FOR ANY OF THE FOLLOWING EVEN IF INFORMED OF THEIR POSSIBILITY OR NOT AND WHETHER ARISING IN CONTRACT, TORT (INCLUDING NEGLIGENCE) OR OTHERWISE: 1) THIRD-PARTY CLAIMS FOR DAMAGES; 2) LOSS OF, OR DAMAGE TO, DATA; 3) SPECIAL, INCIDENTIAL, INDIRECT, PUNITIVE OR CONSEQUENTIAL DAMAGES; OR 4) LOSS OF PROFITS, BUSINESS, REVENUE, GOODWILL OR ANTICIPATED SAVINGS. AS SOME STATES OR JURISDICTIONS DO NOT ALLOW THE EXCLUSION OR LIMITATION OF SOME DAMAGES, THE ABOVE EXCLUSION OR LIMITATION MAY NOT APPLY TO THIS AGREEMENT. EXCEPT FOR BODILY INJURY (INCLUDING DEATH) AND DAMAGE TO REAL PROPERTY OR TANGIBLE PERSONAL PROPERTY, LENOVO SHALL NOT BE LIABLE FOR MORE THAN THE AMOUNT OF ACTUAL DIRECT DAMAGES SUFFERED BY CUSTOMER, UP TO THE AMOUNT CUSTOMER PAID FOR THE PRODUCT OR SERVICE.
7.3 Force Majeure. Lenovo shall not be liable to Customer for any failure or delay in the performance of its obligations hereunder, to the extent such failure or delay is caused by fire, flood, earthquakes, other elements of nature; acts of war; terrorism, riots, civil disorders, rebellions or revolutions; epidemics, communication line or power failures; governmental laws, court orders or regulations; or any other cause beyond the reasonable control of Lenovo.
7.4 Product Changes. Lenovo may change or discontinue Products at any time. In such event, Lenovo may fulfill Customer's order with a Product that has the functionality and performance as the Product ordered by Customer.
7.5 Export. All Products purchased under this Agreement are only for use in the United States and are subject to the export regulations of the United States. Customer shall comply with United States export regulations.
7.6 Governing Law. This Agreement and all orders issued hereunder shall be governed by the laws of the State of New York, without regard to its conflict of law principles. Neither party may bring an action arising out of or related to this Sales Agreement more than two years after the cause of action arose.
Any additional or different terms in any order or communication from Customer shall not be binding on Lenovo unless signed by an authorized representative of Lenovo. Confirmation of receipt of Customer's order shall not mean Lenovo has accepted Customer's order.